NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 44/2010					    Date of Opening-

14-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Sr. # | Specifications | Qty. |
| --- | --- | --- |
|  | Separation gel-LAPAI 10ml high resolution polyacrylamide gel packaged in a premixed cartridge for CEQ 8000. For use in Beckman Genetic analyzer CEQ 8000 (equivalent to Beckman Coulter Cat No:608010) | 10ml x 4 |
|  | DNA sep Cap array 33 cm length and 75m Internal Diameter Eight capillaries, &% um i.d., 33 cm long, complete with inlet electrode block and detector array fitting. Ready for installation into the CEQ 8000 for sequencing or fragment analysis. For use in Beckman Genetic analyzer CEQ 8000 (equivalent to Beckman Coulter Cat No:608087). | 1 cap array |
|  | DNA size Standard kit 400bp DNA size standard for analysis of fragments up to 4000 nucleotides including minerals oil. Sufficient for 96 fragments analysis separations. Must include DNA fragments of the following sizes labeled with WELLRED florescent dye: 60, 70, 80, 90, 100, 120, 140, 160, 180, 190, 200, 220, 240, 260, 280, 300, 320, 340, 360, 380, 400, 420 nucleotide. For use in Beckman Genetic analyzer CEQ 8000 (equivalent to Beckman Coulter Cat No: 608098). | 1 pack |
|  | Sample Loading Solution For use in Beckman Genetic analyzer CEQ 8000 (equivalent to Beckman Coulter CAT no: 608082). | 04 pack |
| The following manufacturers/authorized dealers and sold distributor are as under:- (1) Invitrogen (2) Clontech (3) Sigma (4) Aldrich (5) Fermentas (6) Genomed (7) Roth( 8) Stratagene (9) GE Healthcare (10) Roche( 11) MRC( 12) Phytotechnology (13) Promega (14) Bio-Rad(15) Novagen (16) Ambion(17) MWG/Operon(18) US Biologicals (19) Qiagen (20) New England Biolabs (NEB) (21) Research Organics ( 22) Riedel-deHaen (23) GeneLink (24) Eppendorf (25) Axygen (26) Naptune (27) Bio Plastic(28) Nalgene Nunc(29) Labnet(30) Greiner(31) Nerbe Plus ( 32) Corning ( 33) CLP (34) NyxTechnik(35) Oxoid( 36) AB gene Ltd(37) Epicenter (38) Finnzyme (39) IDT ( 40) USB-Affymetrix (41) MERCK (42) Cole Parmer USA ( 43) TCI Japan (44) Agilent Technologies (45) BDBiosciences (46) Beckman Coulter (47) Calbiochem(48) Corning life Sciences (49) Dynal (50) Milipore (51) Gibco (52) MP Biomedicals(53) Takara (54) Trangenomics (55) PerkinElmer life (56) VWR International ( 57) Zeiss(58) Waters ( 59) Pierce Biotechnology |  |  |

Note:

1	All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

2	The quotes for materials from only above mentioned manufacturers may be submitted. The quality of the products and time of delivery per quote is very important and not compromise-able. All the perishable enzymes/materials should be assured for transport in dry ice from the point of origin till those reach the end user. The commodities requiring refrigeration must be transported in ice packs and reach the end user without suffering a heat shock. Humble request to meet these requirements is extended to avoid any later issues as the payment will be released after quality assurance that may take up to 30 days time.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 42/2010					      Date of Opening-

10-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Description | Qty. |
| --- | --- |
| 1. In-Gel Tryptic Digestion Kit Required for in gel tryptic digestion of protein spots from polyacrylamide gels. Kit should contain reagents required for digestion and elution/purification of proteins from gel. (Equivalent to Thermo Scientific Pierce product # 89871 ). | 2 kits (each kit for 50 digestion) |
| 2. C-18 spin columns C-18 columns, one pack should contain 25 columns. These are reversed phase mini columns for protein purification. (Equivalent to Thermo Scientific Pierce product # 89870) | 2 pack (each pack contain 25 columns) |
| 3. IPG Buffers Immobiline pH gradient (IPG) buffers used for rehydrating the IPG Dry Strip gels for isoelectric focusing. pH 3-10 NL (non linear). (Equivalent to GE Healthcare product code17-6000-88) | 2 x 1ml |
| 4. Immobiline Dry Strip Gels Used for strip based isoelectric focusing within a range of pH gradients and lengths. Required pH gradient is pH 3-10 and the length of strip should be 18 cm. (Equivalent to GE Healthcare product code 17-1234-01). | 2 pack (12 strip each pack) |
| 5. Silver Staining and destaining Kit Required for Silver staining of proteins in polyacrylamide gels and efficient destaining of excised gel pieces. The kit is specific for mass spectrometry analysis. Detailed protocols and components in quantities sufficient to stain 10 big slab gels (20 x 20 cm) should be quoted. (Equivalent to sigma cat# S4942 & Thermo Scientific Pierce product #24600) | 1kit (25 gel staining reactions per kit) |
| 6. CHAPS It is a nonionic or zwitterionic detergent that is included in the protein sample solution to ensure complete protein solubilization. It is used to prevent protein aggregation through hydrophobic interactions Synonym:3-[(3-Cholamidopropyl)dimethylammonio]-1-propanesulfonate Empirical Formula (Hill Notation): C32H58N2O7S Molecular Weight: 614.88, ≥98%. (Equivalent to GE Healthcare product code 17-1314-01) | 50g x 2 |
| 7. Dithiothreitol (DTT) Reducing agent to break disulfide bonds and to maintain proteins in reduced state during protein isolation and electrophoresis. Linear Formula: HSCH2CH(OH)CH(OH)CH2SH Molecular Weight: 154.25, Synonym: threo-1,4-Dimercapto-2,3-butanediol, Cleland’s reagent, DTT, pH 4.0-6.5 (25 °C, 0.1 M in H2O) mp 41-44 °C(lit.). (Equivalent to GE Healthcare product code 17-1318-02) | 50g x 2 |
| 8. Lithium chloride LC-MS grade, 99.9%, RNases and DNases free, used for RNA precipitation Linear Formula: LiClMolecular Weight: 42.39, (Equivalent to sigma product# 62476-100G-F) | 25g x 2 |
| 9. IEF Standards Isoelectric focusing (IEF) protein standards to cover a wide range of pH between 3-9. Equivalent to BIO RAD cat#161-0310 | sufficient for 200 application |
| 10. lodoactamide For use in 2-D protein electrophoresis, Linear Formula: ICH2CONH2 Molecular Weight: 184.96. Molecular Biology Grade. Equivalent to GE Healthcare product code RPN6302 | 25g x 2 |
| 11. Trypsin Trypsin is a serine protease that is specifically used for generating peptides from big protein molecules suitable in LC-MS applications. Molecular Biology Grade. Molecular Weight: 23.3 kDa. Can be use for In gel digestion and mass spectrophotometry grade. Extinction Coefficient: E1% = 12.9 - 15.4 (280 nm) pI: 10.1 - 10.52, (Equivalent to Promega cat# V5280) | 1(100 digestions/ reaction each react is of 100ul) |
| 12. MOPS CH2CH2OCH2CH2N (CH2)3SO3H, Buffering Reagent For RNA Analysis F.W. 209.26 Usable Ph Range Of 6.5 To 7.9. Molecular Biology Grade. (Equivalent To Promega CAT# H5341) | 500g x 2 |
| 13. Protease Inhibitor Cocktail Mixture of protease inhibitors in DMSO solution, with broad specificity. (Equivalent to Sigma cat#P9599) | 1 ml x 1 |
| 14. Protein estimation Kit Used for the quantification of proteins based on colorimetric method. Determination range should be 0.5-50 mg/mL of protein. (Equivalent to Sigma Cat#TP0100) | 1 kit(100 reaction per kit) |
| 15. Pre Stained Protein Standards Prestained broad range protein molecular weight markers, in the range of 7-200 kDa. Should yield at least 8 bands on the gel. Equivalent to BIO RAD CAT#161-0318 | 50 applications/lanes |
| 16. Markers for SDS-PAGE and Protein Broad range protein molecular weight markers, in the range of 10 -200 kDa. Should yield at least 9-10 bands on the gel. Ready to load. Equivalent to Promega CAT# V 8491 | 100 applications/lanes |
| The following manufacturers/authorized Dealers and sold distributor are as under:- (1) Invitrogen (2) Clontech (3) ABI (4) Fisher (5) Pharmacia (6) GE Health (7) Promega (8) Sigma (9) Eppendorf (10) Bio Plastic (11) Genelink (12) Roch (13) Pierce Biotechnology (14) Millipore (15) USB Affymetrix (16) Agilent Technology. |  |

Note:

All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 41/2010					    Date of Opening-

09-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Sr. # | Specifications | Qty. |
| --- | --- | --- |
| 1 | Low Range Thermal Cycler Thermal range: 0-99.9oC and above Accuracy: +0.4oC of programmed target at 60oC and below +0.1oC of programmed target at 30 min and below Thermal Uniformity: 0.5+ oC well to well within 30sec of arrival at 60oC and below Ramping Rate; 2.2oC per second and above LID temperature: upto 105oC and above Sample Capacity: 96 well block Display: LCD Operating environment: 25oC ambient and below Warranty; 1-2year Power: 220VAC | 01 |

Note:

1	All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 46/2010					    Date of Opening-

09-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Sr. # | Specifications | Qty. |
| --- | --- | --- |
| 1 | General Purpose pH Meter Range: pH 0-14, Operating temperature: 4-70oC, Resolution: 0.1pH at 25oC or ambient Accuracy: + 0.1pH, + 0.050C Calibration: three points (buffer set with 4, 7, and 10pH) Temperature compensation: Automatic Data logging capacity: 100 data point Display: LCD Power: 220VAc One Extra electrode Warranty: 1-2 year | 01 |
| The following manufacturers/authorized Dealers and sold distributor are as under:- (1) Invitrogen (2) Clontech (3) Sigma (4) Aldrich (5) Fermentas (6) Genomed (7) Roth( 8) Stratagene (9) GE Healthcare (10) Roche( 11) MRC( 12) Phytotechnology (13) Promega (14) Bio-Rad(15) Novagen (16) Ambion(17) MWG/Operon(18) US Biologicals (19) Qiagen (20) New England Biolabs (NEB) (21) Research Organics ( 22) Riedel-deHaen (23) GeneLink (24) Eppendorf (25) Axygen (26) Naptune (27) Bio Plastic(28) Nalgene Nunc(29) Labnet(30) Greiner(31) Nerbe Plus ( 32) Corning ( 33) CLP (34) NyxTechnik(35) Oxoid( 36) AB gene Ltd(37) Epicenter (38) Finnzyme (39) IDT ( 40) USB-Affymetrix (41) MERCK (42) Cole Parmer USA ( 43) TCI Japan (44) Agilent Technologies (45) BDBiosciences (46) Beckman Coulter (47) Calbiochem(48) Corning life Sciences (49) Dynal (50) Milipore (51) Gibco (52) MP Biomedicals(53) Takara (54) Trangenomics (55) PerkinElmer life (56) VWR International ( 57) Zeiss(58) Waters 59) Pierce Biotechnology |  |  |

Note:

1	All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 48/2010					    Date of Opening-

09-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Sr. # | Specifications | Qty. |
| --- | --- | --- |
| 1 | UV Illuminator - Uniform lighting design, Ultra High Contrast - UV wave length:302nm or 312nm - Used to visualize DNA, RNA stained with ethidium bromide etc - Safe UV blocking cover: Should block 99.99% UV transmittance - UV blocking cover: Aluminum alloy/stain less steel frame - Fast turn on speed for UV lamps - Six UV lamps with no flicker - Designed for long tube life - With removable and adjustable protective UV blocking cover - Adjustable UV intensity from 100% down to 50% - Stainless steel body - Dimension: approximately 20cm x 40cm (UV Plate form) - Power: 220 volts - Warranty 3-5years | 01 |

Note:

1	All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 45/2010					    	  Date of Opening-

14-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Description | Qty |
| --- | --- |
| 1. Acetic Acid: (Molecular Biology Grade), Purity 99%, (CH3COOH) | 5L |
| 2.Ammonium Acetate:(Molecular Biology Grade) 98% Pure DNase/RNase Free (CH3COONH4) FW 77.08 | 1kg |
| 3.Ammonium Sulphate:(NH(4)2SO4) FW 132.14, Plant Tissue Culture Tested (PTCT), Purity 99% | 1kg |
| 4. Boric Acid: Formula (H3BO3), FW 61.83, Plant Tissue Culture Tested (PTCT), Purity 99% | 1kg |
| 5. Bromo Phenol Blue: (Molecular Biology Grade), Formula (C19H10Br4O5S), FW 670.0 | 50g |
| 6. Chloroform: (CHCl3), Purity 99+%, Required for nucleic acid purification. FW 119.4 | 5L |
| 7. EDTA Ethylenediamine-N,N-diacetic acid: (Molecular Biology Grade) Purity 99% (C10H16N2O8) FW 292.2 | 1KG |
| 8. Ethidium Bromide: (Molecular Biology Grade) Purity 98% (C21H20N3Br) FW 394.3 | 10g |
| 9. Glucose: (Molecular Biology Grade), Purity 99%,( C6H12O6 ) | 500g |
| 10. Glycerol: (Molecular Biology Grade), Formula (C3H8O3) FW 92.09 Purity 99% | 2.5L |
| 11. Glycine: (MB Grade), Formula (C2H5NO2) FW 75.07 Purity 99% | 500g |
| 12. Isoamyl Alcohal: (Molecular Biology Grade), Formula (C5H12O) FW 88.15 Purity 99% | 250ml x 1L |
| 13. Isopropanol:2-Propanol, Isopropyl Alcohol, (CH3)2CHOH,: structural isomer of propanol (Molecular Biology Grade), Purity 99% | 4 L |
| 14. Mercaptoethanol: (Molecular Biology Grade), Formula (C2H6OS), | 250ml |
| 15. Potassium Acetate:(Molecular Biology Grade), Purity 99% (CH3CO2K) | 1kg |
| 16. Sodium Acetate: (Molecular Biology Grade), Formula (CH3COONa) FW 82.03 Purity 99% | 1Kg |
| 17. Sodium Chlorode: (Molecular Biology Grade), Formula (NaCl), DNase, RNase, and protease | 2kg |
| 18. Sodium Dodycyl Sulphate SDS :(Molecular Biology Grade), (Mol 288.38) Purity 99% | 1Kg |
| 19. Sodium Hydroxide Anhydrous(Pallets):(Molecular Biology Grade), Formula (NaOH), FW 40 Purity 99% White crystalline pellets | 1Kg |
| 20. Sodium Phosphate: (Molecular Biology Grade), Formula (NaH2PO4.H2O)FW 137.99, Purity 99% | 1Kg |
| 21. TEMED Tetramethylethylenediamine: (Molecular Biology Grade), Formula C6 H16N2) Mol Wt 116.2 Purity 99% | 100ml |
| 22. Tris-Base 2Amino-2hydroxymethyl-1,3propanediol: (Molecular Biology Grade), Formula C4H11NO3 FW 121.13, Purity 99% | 2Kg |
| 23. Tris-HCl(Molecular Biology Grade), Formula (C4H11NO3-HCL) Mol Wt 157.6 Purity 99% Nuclease Free | 1Kg |
| 24. Absolute Ethanol: (Molecular Biology Grade), Purity 99.5%, (CH3–CH2–OH) Required for DNA precipitation | 5L |
| 25. Gel Red (DNA Staining Dye, non-carcinogenic, biologically safe and easy to handle) | 1L |
| 26. Glycogen (Highly pure, DNA/ RNA Free, Molecular Biology Grade. Conc. 20mg/ml aqueous solution. Required for precipitation of nucleic acids | 5ML |
| 27. CTAB Cetyl trimethyl ammonium bromide (Molecular Biology Grade) Purity 98% (C19H42BrN) FW 364.5, required for DNA Isolation. | 1kg |
| 28. IPTG: (Molecular Biology Reagent), purity 99%, Molecular Formula: C9H18O5S; Molecular mass: 238.3 g mol−1 ; Isopropyl-B-D-thiogalactopyranoside, dioxane free, IPTG is required for induction of transcription of the gene coding for beta-galactosidase a hydrolase enzyme that catalyzes the hydrolysis of β-galactosides into monosaccharides. blue white selection |  |
| 29. X-Gal (Molecular Biology grade, 99% pure), 5-Bromo-4-Chloro-3-Indolyle-B-D-Glactosidase, C14H15BrCINO6, MW 408.64; Suitable for blue white selection. Required for differentiation of recombinants from non-recombinants in cloning experiments using vectors containing the lacZ or lacZ a-peptide gene. |  |
| 30. Calcium Chloride Dihydrate Molecular Biology Grade, Purity 99%, (CaCl2.2H2O) | 5L |
| 31. Glacial Acidic Acid: Molecular Biology Grade, Purity 99% | 1L |
| 32.Magnesium Chloride Hexa Hydrate Molecular Biology Grade, Purity 99%, (MgCl2.6H2O) | 1KG |
| 33.Mineral Oil: Molecular Biology Grade, boiling range 300-400°C; density (d20°/4°): 0.818-0.875; Viscosity: min. 25-80 mPa’s (20°C); Free of any DNases and RNases. | 1L X 2 |
| 34.Sodium bisulphite : (Molecular Biology Grade) NaHSo3Mole wt: 104.06, white powder 98% pure, min ferric content (< 0.007%). Should be in dehydrated form. | 1KG |
| 35. High Resolution AGAROSE: High resolution separation of small DNA fragments in the range of 20-800bp. Physical Properties should include. Gelling temperature (3%) 35°C Melting temperature (3%) 75°C Gel strength (3%) 300 g/cm2, fine analysis of PCR product equivalent to MetaPhor Agarose | 1KG |
| 36. Gelatin Type: Type A. Gel strength ~300 g. To be used as a cell culture substratum (Specification as per Sigma Cat#G2500) | 1KG |

The following manufacturers/authorized dealers and sold distributor are as under:-

(1) Invitrogen  (2) Clontech (3) Sigma (4) Aldrich (5) Fermentas (6) Genomed (7)  Roth( 8)  Stratagene  (9)  GE Healthcare (10) Roche( 11) MRC( 12) Phytotechnology  (13) Promega (14) Bio-Rad(15) Novagen (16) Ambion(17) MWG/Operon(18) US Biologicals  (19) Qiagen (20) New England Biolabs (NEB) (21) Research Organics  ( 22) Riedel-deHaen  (23) GeneLink (24) Eppendorf (25) Axygen   (26) Naptune(27) Bio Plastic(28) Nalgene Nunc(29) Labnet(30) Greiner(31) Nerbe Plus   ( 32) Corning      ( 33) CLP (34) NyxTechnik(35) Oxoid( 36) AB gene Ltd(37) Epicenter (38) Finnzyme (39) IDT ( 40) USB-Affymetrix (41) MERCK (42) Cole Parmer USA  ( 43) TCI Japan (44) Agilent Technologies (45) BDBiosciences   (46) Beckman Coulter (47) Calbiochem(48) Corning life Sciences (49) Dynal (50) Milipore (51) Gibco(52) MP Biomedicals(53) Takara (54) Trangenomics (55) PerkinElmer life (56) VWR International  ( 57) Zeiss(58) Waters ( 59) Pierce Biotechnology

Note:

- All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

- The quotes for materials from only above mentioned manufacturers may be submitted. The quality of the products and time of delivery per quote is very important and not compromise-able. All the perishable enzymes/materials should be assured for transport in dry ice from the point of origin till those reach the end user. The commodities requiring refrigeration must be transported in ice packs and reach the end user without suffering a heat shock. Humble request to meet these requirements is extended to avoid any later issues as the payment will be released after quality assurance that may take up to 30 days time.

- The soft copy of the financial quotation should also be provided on a W/RW CD along with your quotation, please.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 40/2010					    	  Date of Opening-

08-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Sr. # | Description | Qty |
| --- | --- | --- |
| 1 | Beaker (Pyrex or equivalent) ( 500ml) Autoclavable, capable of tolerating high temperature, pressure and corrosive chemicals. | 10 Each |
| 2 | Beaker (Pyrex or equivalent) (1L,) Autoclavable, capable of tolerating high temperature, pressure and corrosive chemicals. | 10 Each |
| 3 | Blue or White Tips (0.1-20ul, ), should accurately fit Gilson, Eppendorf and BioHit pipetman | 10000 Tips |
| 4 | Blue or White Tips ( 20-200ul ), should accurately fit Gilson, Eppendorf and BioHit pipetman | 50000 Tips |
| 5 | Blue or White Tips (1ml), should accurately fit Gilson, Eppendorf and BioHit pipetman | 10000Tips |
| 6 | Enzyme Storage Boxes Requires for protection of enzymes and temperature sensitive reagents during transport and storage. Remain cool for 2-3 hours. Contain non-toxic cooling gel. 20 places polycarbonate block for 1.5 ml tubes, Temp -10 to -20 C. clear non-filled lid. | 10Boxes |
| 7 | Falcon Tubes (50ml), Sterilized, DNase, RNase Free Approximate dimensions: 30 mm O. D.; 115 mm length, sterilized by gamma irradiation and non-pyrogenic, dark color printed graduations and white writing patch, high-density polyethylene flat-top screw cap to allows one hand manipulation, provides a level writing area. Modified polystyrene to improved stress resistance. The top of the cap must have a frosted writing surface for labeling. RNase and DNase free | 1000 Tubes Each |
| 8 | Conical Flasks (Pyrex or equivalent) 250 ml | 10 No. |
| 9 | Conical Flasks (Pyrex or equivalent) 500ml | 10 No. |
| 10 | Conical Flasks (Pyrex or equivalent) 1L | 10 No. |
| 11 | Conical Flasks (Pyrex or equivalent) 2L | 10 No. |
| 12 | Measuring Cylinder (Transparent Plastic with legible measuring points, autoclavable) 100ml | 3 No. |
| 13 | Measuring Cylinder (Transparent Plastic with legible measuring points, autoclavable) 250ml | 3 No. |
| 14 | Measuring Cylinder (Transparent Plastic with legible measuring points, autoclavable) 500ml | 3 No. |
| 15 | Measuring Cylinder (Transparent Plastic with legible measuring points, autoclavable) 1L | 3 No. |
| 16 | Measuring Cylinder (Transparent Plastic with legible measuring points, autoclavable) 2L | 3 No. |
| 17 | Strips of eight PCR Tubes (0.2ml), thin walled, DNase/RNase Freee, Temp Range -4C to 121C with cap strips | 5000 strips |
| 18 | Disposable and sterile plastic petriplates Disposable and sterile plastic petriplates for plant tissue culture, size 90-100mm (dia) and 15-16mm deep, ; 20 per pack. | 2,000 plates |
| 19 | Storage Boxes (Plastic with lid/cap for 1.6ml eppendorf tubes)Polycarbonate boxes with 80-100 places for 1.5 ml tubes for storage in freezer. | 100 boxes |
| 20 | Storage Racks (Made of steel or any other metallic material to keep in order storage boxes of 1.6ml eppendorf storage boxes) with handle on the top. Height 18-20 inches that can hold 9-10 boxes of 2”H. | 10 racks |
| 21 | Filtered Tips, Pre Sterlized, Cap .1µl-10µl should accurately fit Gilson, Eppendorf and BioHit pipetman | 10 Boxes |
| 22 | 2ml Eppendorf tubes: 2 ml Eppendorf tubes. Clear polypropylene, autoclavable. Unbreakable at 14,000 rpm/16,000 rcf. The tubes should withstand liquid nitrogen. The tubes should not break when spun after liquid nitrogen treatment. The lid/cap should provide enough grip surface for easy opening/closing of tubes at ultra low temperature. Frosted lid surface for writing. Calibrations for volume on the tube surface should be engraved or printed. Required in Bulk Pack. | 10000 No |
| 23 | PCR Tubes (0.2ml) thin walled autoclavable and clear polypropylene PCR tubes, optically transparent cap/lid, required in bulk pack.. | 20000no |
| 24 | Parafilm Roll 4"X125Ft It should stretch up to 200 % and cling (seal) around laboratory vessels on even and uneven surfaces. Made of disposable, non-toxic translucent material mainly polyolefins and paraffin waxes. Good gas and water permeability. It should withstand saline, alkaline and inorganic solutions for 48 hours. Withstand temperature from -45oC to +45 oC | 2rolls |
| 25 | 96 well PCR plates with 1.8cm tube length with a capacity of 200-340ml reaction volume. Thin walled autoclavable and clear polypropylene. The plates should be non skirted and can be fitted in Bio-Rad icycler as well as Peqlab PCR machines. Equivalent to Axygen Cat No. PCR-96-FLT-C | 500 no. |
| 26 | 2 ml deep well plates with round wells, autoclavable and clear polypropylene. Equivalent to Axygen Cat. No. P-DW-20-C | 500 no. |

The following manufacturers/authorized dealers and sold distributor are as under:-

(1) Invitrogen  (2) Clontech (3) Sigma (4) Aldrich (5) Fermentas (6) Genomed (7)  Roth( 8)  Stratagene

(9)  GE Healthcare (10) Roche( 11) MRC( 12) Phytotechnology  (13) Promega (14) Bio-Rad(15) Novagen

(16) Ambion(17) MWG/Operon(18) US Biologicals  (19) Qiagen (20) New England Biolabs (NEB)

(21) Research Organics  ( 22) Riedel-deHaen  (23) GeneLink (24) Eppendorf (25) Axygen   (26) Naptune

(27) Bio Plastic(28) Nalgene Nunc(29) Labnet(30) Greiner(31) Nerbe Plus   ( 32) Corning      ( 33) CLP

(34) NyxTechnik(35) Oxoid( 36) AB gene Ltd(37) Epicenter (38) Finnzyme (39) IDT    ( 40) USB-Affymetrix

(41) MERCK (42) Cole Parmer USA  ( 43) TCI Japan (44) Agilent Technologies (45) BDBiosciences

(46) Beckman Coulter (47) Calbiochem(48) Corning life Sciences (49) Dynal (50) Milipore (51) Gibco

(52) MP Biomedicals(53) Takara (54) Trangenomics (55) PerkinElmer life (56) VWR International               ( 57) Zeiss(58) Waters ( 59) Pierce Biotechnology

Note:

1	All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

2	The soft copy of the financial quotation should also be provided on a W/RW CD along with your quotation, please.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 49/2010					    Date of Opening-

09-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Sr. # | Specifications | Qty. |
| --- | --- | --- |
| 1 | Multi Channel High Precision Pipetteman (2-20 µL) - Manual handling/adjustments - Lower parts should be removeable and autoclaveable - Stainless steel piston. - PVDF handle - 1-2 year warranty - High precision and accuracy is the prime concern and the value standards are given below: Accessories Volume (µL) Permissible Errors Systematic error (µL) Random error (µL). 2; ±0.10; ≤0.08. 10; ±0.20; ≤0.1. 20; ±0.40; ≤0.2. - Extra set of O-ring seal/s - Vacuum grease for routine maintenance | 01 |

The following manufacturers/authorized dealers and sold distributor are as under:-

(1) Invitrogen  (2) Clontech (3) Sigma (4) Aldrich (5) Fermentas (6) Genomed (7)  Roth( 8)  Stratagene

(9)  GE Healthcare (10) Roche( 11) MRC( 12) Phytotechnology  (13) Promega (14) Bio-Rad(15) Novagen

(16) Ambion(17) MWG/Operon(18) US Biologicals  (19) Qiagen (20) New England Biolabs (NEB)

(21) Research Organics  ( 22) Riedel-deHaen  (23) GeneLink (24) Eppendorf (25) Axygen   (26) Naptune

(27) Bio Plastic(28) Nalgene Nunc(29) Labnet(30) Greiner(31) Nerbe Plus   ( 32) Corning  (34) NyxTechnik(35) Oxoid( 36) AB gene Ltd(37) Epicenter (38) Finnzyme (39) IDT    ( 40) USB-Affymetrix

(41) MERCK (42) Cole Parmer USA  ( 43) TCI Japan (44) Agilent Technologies (45) BDBiosciences

(46) Beckman Coulter (47) Calbiochem(48) Corning life Sciences (49) Dynal (50) Milipore (51) Gibco

(52) MP Biomedicals(53) Takara (54) Trangenomics (55) PerkinElmer life (56) VWR International               ( 57) Zeiss(58) Waters ( 59) Pierce Biotechnology (60) Gilson (61) Pipette Man.

Note:

1	All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY AND GENETIC ENGINEERING

## JHANG ROAD, FAISALABAD

========================================================================

#### Tender No. 43/2010					    Date of Opening-

11-02-2011 at 1430 hrs.

Note:-	SINGLE QUOTATION-TWO ENVELOLPE PROCEDURE

| Specifications | Qty. |
| --- | --- |
| - Plant Genomic DNA purification kit (250 preps) Required for rapid and high quality plant genomic DNA purification. The kit should utilize a silica based membrane technology in the form of a spin column. The purified DNA would be up to 50 kb in size. Purified DNA could be utilized for Southern PCR and other downstream applications. | 1Kit |
| - Gel elution Kit (250 preps) Silica membrane based minispin cartridges and associated solutions (gel melting, column wash, DNA elution) capable of 95% recoveries in the range of 100 bp – 10 kb DNA fragments and supplied with binding buffer, concentrated wash buffer, elution buffer, purification columns, collection tubes and detailed protocol. The eluted DNA should be pure enough for restriction digestion, DNA sequencing, DNA ligation and labeling. | 1 Kit |
| - PCR Purification Kit (250 preps) PCR Purification Kit for rapid and efficient purification of DNA from PCR and other enzymatic reaction mixtures. Silica membrane based spin columns capable of 90-100% recoveries in the range of 100 bp – 10 kb and supplied with binding buffer, concentrated wash buffer, elution buffer, purification columns, collection tubes and detailed protocol. The eluted DNA should be pure enough for restriction digestion, DNA sequencing, DNA ligation and labeling | 1 Kit |
| - Miniprep Plasmid Isolation kit (250 preps) Efficient silica membrane based spin columns system for the isolation of high quality plasmid DNA from recombinant E.coli cultures. The yield should be up to 20 µg of high quality plasmid DNA per 3 ml culture. The kit should be provided with Resuspension solution, Lysis solution, Neutralization solution, Wash solution, RNAse solution, Elution buffer, Silica membrane based spin columns, Collection tubes and detailed protocol. The isolated plasmid DNA should be pure enough for restriction digestion, DNA sequencing, DNA ligation and labeling | 1 Kit |
| - TA Cloning Kit: 30 reactions per kit Thermostable with half life more than 40 min at 95°C. Should generate PCR products with 3’-dA overhangs and supplied with two buffers – 10X Taq Buffer with KCl and 10X Taq Buffer with (NH4)2SO4 for testing at wide range of magnesium concentrations and decreases unspecific priming. The 25mM MgCl2 should also be supplied. The enzyme should be capable of incorporating modified nucleotides (e.g., biotin-, digoxigenin-, fluorescently-labeled nucleotides). For routine PCR the amplification of DNA fragments up to 5 kb should be possible. The enzyme should catalyze 5' to 3' synthesis of DNA with no detectable 3' to 5' exonuclease (proofreading) activity. It should possess negligible or low 5' to 3' exonuclease activity. In addition, Taq DNA Polymerase should exhibit deoxynucleotidyl transferase activity to add extra adenines at the 3'-end of PCR products. One unit of the enzyme should catalyze the incorporation of 10 nmol of deoxyribonucleotides into a polynucleotide fraction in 30 min at 70°C. The error rate of Taq DNA Polymerase should not be more than 2.2x10-5 errors per nt per cycle, and the accuracy of PCR should be 4.5x104. The enzyme must be devoid of E.coli DNA and non-specific amplifications must not be obtained in a template free PCR. The specifications should be easily accessible as a brochure with the quote/supply or internet search using catalogue number. | 2Kits |
| - Taq DNA Polymerase (recombinant), 500 Units (5 units /µl) Thermostable with half life more than 40 min at 95°C. Should generate PCR products with 3’-dA overhangs and supplied with two buffers – 10X Taq Buffer with KCl and 10X Taq Buffer with (NH4)2SO4 for testing at wide range of magnesium concentrations and decreases unspecific priming. The 25mM MgCl2 should also be supplied. The enzyme should be capable of incorporating modified nucleotides (e.g., biotin-, digoxigenin-, fluorescently-labeled nucleotides). For routine PCR the amplification of DNA fragments up to 5 kb should be possible. The enzyme should catalyze 5' to 3' synthesis of DNA with no detectable 3' to 5' exonuclease (proofreading) activity. It should possess negligible or low 5' to 3' exonuclease activity. In addition, Taq DNA Polymerase should exhibit deoxynucleotidyl transferase activity to add extra adenines at the 3'-end of PCR products. One unit of the enzyme should catalyze the incorporation of 10 nmol of deoxyribonucleotides into a polynucleotide fraction in 30 min at 70°C. The error rate of Taq DNA Polymerase should not be more than 2.2x10-5 errors per nt per cycle, and the accuracy of PCR should be 4.5x104. The enzyme must be devoid of E.coli DNA and non-specific amplifications must not be obtained in a template free PCR. The specifications should be easily accessible as a brochure with the quote/supply or internet search using catalogue number. | 80 Vials |
| - Gene Ruler 1Kb DNA Ladder Ready to Use, premixed with 6x DNA loading dye; Conc. 0.5 ug/ul | 10 Vials |
| - Oligonucleotide primer synthesis. Primer length 17-80 bases long at 50nmol scale and a minimum OD of 20. Provided as Desalted/Salt free pellet in screw cap 2 ml polypropylene tube supplemented with the synthesis data sheet. The requirement per demand will be raised for synthesis of single or multiple primers over a span of three years period. Total requirement for the three years period would be greater than 1000 bases with primer lengths ranging between 17-80 nucleotides per primer. | 10000bases |
| 9. High Fidelity PCR Master mix 20 x 1.25 ml (for 1000 reactions of 50 µl each). The mix should have high sensitivity thermostable DNA polymerase for efficient amplification of atleast 6 Kb DNA fragments from genomic DNA and upto 20 Kb from viral DNA. The amplified DNA fragments should have 3’-dA overhangs for efficient ligation in TA vector. Capable of incorporating modified nucleotides and supplied with nuclease free water. | 5000 Reactions |
| 10. dNTPs mix For use in molecular biology applications including PCR, real-time PCR and RT-PCR. Purity should be greater than 99%. Should be free of human and E.coli DNA and other contaminants from the source organism. The mix should be stable for about 100 or more freeze-thaw cycles. Concentration 10 mM each dNTP in the mix | 40 Vials |
| 11. DNA ladder 50bp Step DNA ladder with 50 bp increments. The ladder should yield sharp bands and be enough for 500 applications. Premixed with 6X loading Dye and ready to use. Separate loading dye for sample application should be a part of the package. Equivalent to Fermentas Cat. No. SM0372 | 20 vials |
| 12. Dye labeled primer 200nMol synthesis scale, HPLC purified and labeled with Cy5 or Cy5.5 dye. The final concentration range for the HPLC purified labeled primer should be 35-50nMol, The primer lengths will range between 15-50 bases | 30 primers |
| 13. CEL1 enzyme based single nucleotide polymorphysim detection kit. Detection of any base substitution and small insertion or deletion Usable for Standard Gel Electrophoresis and 100 reactions Reaction buffers and positive controls should be part of the kit and allow the user to set up and check the assays to obtain reproducible results. User Guides should be provided with the detailed instructions and troubleshooting guides. (Equivalent to Transgenomics Surveyor Cat # 706020 | 10000 units |

The following manufacturers/authorized dealers and sold distributor are as under:-

(1) Invitrogen  (2) Clontech (3) Sigma (4) Aldrich (5) Fermentas (6) Genomed (7)  Roth( 8)  Stratagene

(9)  GE Healthcare (10) Roche( 11) MRC( 12) Phytotechnology  (13) Promega (14) Bio-Rad(15) Novagen

(16) Ambion(17) MWG/Operon(18) US Biologicals  (19) Qiagen (20) New England Biolabs (NEB)

(21) Research Organics  ( 22) Riedel-deHaen  (23) GeneLink (24) Eppendorf (25) Axygen   (26) Naptune

(27) Bio Plastic(28) Nalgene Nunc(29) Labnet(30) Greiner(31) Nerbe Plus   ( 32) Corning      ( 33) CLP

(34) NyxTechnik(35) Oxoid( 36) AB gene Ltd(37) Epicenter (38) Finnzyme (39) IDT    ( 40) USB-Affymetrix

(41) MERCK (42) Cole Parmer USA  ( 43) TCI Japan (44) Agilent Technologies (45) BDBiosciences

(46) Beckman Coulter (47) Calbiochem(48) Corning life Sciences (49) Dynal (50) Milipore (51) Gibco

(52) MP Biomedicals(53) Takara (54) Trangenomics (55) PerkinElmer life (56) VWR International               ( 57) Zeiss(58) Waters ( 59) Pierce Biotechnology.

Note:

- All the firms who are interested to participate must be registered with any academic or research institute working under Government of Punjab and should not be black listed by any establishment of Pakistan Atomic Energy Commission of Pakistan.

- The quotes for materials from only above mentioned manufacturers may be submitted. The quality of the products and time of delivery per quote is very important and not compromise-able. All the perishable enzymes/materials should be assured for transport in dry ice from the point of origin till those reach the end user. The commodities requiring refrigeration must be transported in ice packs and reach the end user without suffering a heat shock. Humble request to meet these requirements is extended to avoid any later issues as the payment will be released after quality assurance that may take up to 30 days time.

- The soft copy of the financial quotation should also be provided on a W/RW CD along with your quotation, please.

NATIONAL INSTITUTE FOR BIOTECHNOLOGY & GENETIC ENGINEERING

PAKISTAN ATOMIC ENERGY COMMISSION, P.O.BOX NO.577, JHANG ROAD

F A I S A L A B A D-38000

TENDER NOTICE NO.__________________FOR  THE  PURCHASE  OF ________________

# TERMS AND CONDITIONS

1.	The rates should be quoted on F.O.R. (NIBGE) FAISALABAD destination basis on the enclosed proforma as per accounting/measuring units given therein against each item and in no other accounting /measuring unit, as it entails conversion which is at time difficult in order to determine lowest bidders.

2.	The unit and total price should be quoted for all the item. The total price should be summed up for all items as or for each section of the tender in order to show the aggregate price.

3.	In case the items are quoted as substitute or an alternate, it should be indicated in the remark column.

4.	All clarifications regarding drawings/specifications or otherwise may be sought prior to submitting offers. No excuse will be entertained thereafter that a particular drawing/specifications etc. were not clear to the supplier.

5.	Date and time of receipt/opening of bids will be the same as published in the newspapers pertaining to this tender. Tenders can be sent through registered mail or can be delivered in person. Tenders received after the opening date and time, will not be considered but will be returned to the supplier.

6.	Validity of rates shall not be less than 90-days from the date of opening.

7.	Delivery period shall not be more than 30-days from the date of issue of supply ordered which in exceptional circumstances may be extended with the consent of this Institute.

8.	The earnest money at the rate of 2% of the total quoted value in the shape of Deposit-at-Call duly affixed Revenue Stamps according to its value (Cheque, Bank Draft and Demand Draft not acceptable) in the name of Accounts Officer, NIBGE, FAISALABAD only must accompany the offer, failing which the offer is liable to be rejected.

9.	Advance payment shall not be possible.

10.	Conditional/Telegraphic/Fax offers will not be entertained.

11.	Quotation may be sent in closed/sealed Envelope.

12.	Supplier on whom the order is placed would be responsible to get the samples approved and deliver the stores within the stipulated delivery period given in the supply order. Stores can be delivered without sample approval but in case of rejection, the Institute will not be responsible for any claim arising thereof.

13.	Stores should be despatched with freight  pre-paid. Demurrage charges levied due to non-observance of this clause will be deducted from the bill of the supplier for which Institute will not be responsible.

14.	All items should suitably be packed with sufficient cushioning material to withstand rough handling during transit. The supplier will be liable to bear any loss due to improper or inadequate packing.

15.	Packages should be marked clearly showing consignee as well as the consignor alongwith supply order number an date.

16.	Checking and Inspection of stores will be got it done by the supplier or his authorized representative on receipt of stores at this Institute (NIBGE) otherwise deficiency/rejection if any, will have to made good/replaced by the supplier.

17.	Part supply will be acceptable, however part payment may not be possible.

18.	The supplier on whom the supply order is placed, will provide a warranty/guarantee certificate that stores supplied are brand new and quality conforms to specifications given with supply order. The supplier including freight charges from to NIBGE to supplier’s premises and back will replace any defective parts/stores free of all charges.

19.	In case the supplier fails to make the full supply within the stipulated period or abandon during the currency of  supply order without reasonable excuse in writing, then the balance of the stores would be arranged through some other agency at the sole Risk & Cost of supplier without any reference in this regard thereof. The judgement of reasonability of excuse rest solely with this Institute.

20.	In case the supplier does not supply the stores within the stipulated delivery period, this Institute will be at liberty to confiscate 2% earnest money at the quoted value of the tender even without any reference to the supplier.

21.	Quality verification and processing of bills for payment to the supplier will be made on presentation of  following documents:-

I)   	Original TR./RR/Airway bill, if the stores are booked in the name of this Institute (NIBGE).

II)   	4-copies of Delivery Challan.

III)   	3-copies of Bill/Invoice.

22.	While sending the quotation, envelope should be marked with tender number and date of opening .

23.	Calculation  mistakes if any found in supply order, be intimated to this office for rectification.

24.	This Institute will not be responsible for any loss sustained by the supplier as a result of cancellation of supply order.

25.	The Competent Authority reserves the right to accept or reject any or all the quotations.

- Owner, proprietor or his authorized representative may sign for acceptance of  these terms and conditions with a copy of certificate of ownership, proprietorship and authorization.

- The rates should be in full rupee inclusive of 17% General Sales Tax. If GST not mentioned as Exclusive or Exempted in quotation, the quoted rates shall be considered as Inclusive of 17% GST.  Any decimal figure shown with quoted rates shall be considered as deleted/ignored. Writing as “GST as per Govt. rules” will also be deemed as misleading and shall be considered as inclusive of GST.

The Supply Order will be issued to those Firms/suppliers which are REGISTERED with Sales Tax Department, having their Sales Tax Registration Number on their Tenders/Quotations/Invoices/Bills etc.

Note:- 	The supplied material may be reordered against same price & specifications for three following years subject to consent of supplier and approval of competent authority.

PROCUREMENT OFFICER

The above mentioned terms and conditions  are acceptable to us:

Signature:.........................................		Telephone #........................................................

Name of the bidder with designation:		Fax #..............................................…………….

.........................................................		E-mail #.........................................………….....

National Identity Card No. 			Internet/Web site.........................…………........

|  |  |  | - |  |  | - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Name of Firm with address................	Telex #.…………................................................

....................................................…...		Grams/Cable address…………...........................

......................................................….